## Solar Heat Gain Calculator
Azimuth/Orientation:
Solar Heat Gain Through Windows (v 1.1)
(For South-Facing Windows at 90 degree tilt - vertical)
Step 1. Determine the window orientation. True South = 180 deg. Note: If using compass, you must account for magnetic declination.
Step 2. Enter Solar Heat Gain Coefficient (SHGC) for Windows |  |  |  |  | 0.35
Step 3. Enter Surface Area of South-Facing Windows (ft2) |  |  |  |  | 60
Step 4. Enter Solar Radiation Data into yellow cells below based on data obtained from PV Watts. See source below.
Solar Radiation | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec | Avg | Notes:
Enter Data from PV Watts (kWh/m2/day) | 1 | 2.3 | 3.7 | 3.8 | 3.3 | 3.2 | 3.1 | 2.9 | 2.6 | 1.9 | 1.3 | 0.6 | 2.475 | kWh/m2/day
Total BTU/ft2/day | 317 | 729.1 | 1172.9 | 1204.6 | 1046.1 | 1014.4 | 982.7 | 919.3 | 824.2 | 602.3 | 412.1 | 190.2 | 784.575 | (multiplier: 317)
Total BTU/ft2/day (after SHGC) | 110.95 | 255.185 | 410.515 | 421.61 | 366.135 | 355.04 | 343.945 | 321.755 | 288.47 | 210.805 | 144.235 | 66.57 | 274.6012
Total BTU/day | 6657 | 15311.1 | 24630.9 | 25296.6 | 21968.1 | 21302.4 | 20636.7 | 19305.3 | 17308.2 | 12648.3 | 8654.1 | 3994.2 | 16476.075
Version 1 (For listed locations across AK & lower 48)
http://rredc.nrel.gov/solar/calculators/PVWATTS/version1/
Step 1. Click on above link for Version 1.
Step 2. Select location of nearest weather station to house site.
Step 3. Under "Fixed Tilt or 1-Axis Tracking System:"
Change Array Tilt (degrees) to "90".
Change Array Azimuth (degrees) to actual window orientation relative to true south.
Leave all other inputs as default.
Step 4. Click on "Calculate" button
Step 5. Enter values from Results Page Table. Enter "Solar Radiation" data into spreadsheet table above.
Version 2 (For unlisted locations across AK)
http://mapserve3.nrel.gov/PVWatts_Viewer/index.html
Step 1. Click on above link for Version 2.
Step 2. Enter zip code into dialog box. Press "Go."
Step 3. Click on "Send to PVWatts" in dialog box.
Step 4. Under "Fixed Tilt or 1-Axis Tracking System:"
Change Array Tilt (degrees) to "90".
Change Array Azimuth (degrees) to actual window orientation relative to true south.
Leave all other inputs as default.
Step 5. Click on "Calculate" button
Step 6. Enter values from Results Page Table. Enter "Solar Radiation" data into spreadsheet table above.
Instructions for Using PV Watts
Instructions for Using Calculator